Request for proposals under a competitive bidding procedure

Contracting entity:

Restauro Sp. z o.o.

ul. Małe Garbary 4-6

87-100 Toruń

Poland, EU

www.restauro.pl

tel./fax. 0048 56 621-12-40

e-mail: restauro@restauro.pl

The company provides heritage conservation services. It can perform a complete range of building and conservation works, mainly specializing in conservation, repair, modernization, and conversion of historic buildings, including conservation of such interior decorations as joinery, wood carvings, gildings, stuccowork, plasterwork, and wall paintings.

This request for proposals is not conducted under the Act of 29 January 2004 Public Procurement Law.

After examining submitted proposals, the Contracting Entity shall invite selected vendors to further negotiations.

The procurement shall be financed with the Contracting Entity's own funds and funds granted by the EU.

Supply, installation and start-up of an automatic robotic photogrammetry digitizer for 3D modelling (geometry plus textures) with software Quantity – 1 set

- The equipment will be used for digitizing historic objects before, during and after laser conservation treatment.

- Quantity – 1 set

- Detailed specification:

  - It must be portable, that is it can be delivered to the research site, and to provide a completely contactless and non-invasive measurement procedure.

  - Digitization must consist in the automatic shooting of a series of photographs, which must be calibrated in terms of colour and provide input for creating a 3D metric model of a given object.

  - The photographing process must be adjustable to the form of a photographed object through an image geometry selection option.

  - The camera must be able to automatically move horizontally and vertically, following a photographing plan / manual control option.

  - Automatic tilting option / manual control option.

- The equipment must include:

  - 28 mm, 35 mm, 50 mm, 85 mm and 105 mm prime lenses.

  - SLR camera compatible with the lenses, with an image sensor size of 24 x 36 mm and the minimum definition of 22 Mpix.

  - Lighting system allowing the shooting of homogeneously exposed photographs of all parts of a digitized object – elimination of shadows and reflections.

  - Computer-controlled multi-direction camera positioning in relation to the object.

  - A computer workstation with proper software allowing control of the equipment and date recording and processing.

- The equipment software should have the following characteristics:

  - Project management module.

  - Camera calibration data storage module.

  - Project planning module for shooting photographs.

  - Photograph exposure parameters control module.

  - Control module for shooting photographs.

  - Colour calibration module.

  - Automatic module for separating objects from the background with environment relic reflection elimination.

  - Automatic object visualization module.

  - Object metadata module.

The proposal is to include:

- detailed technical specifications of the equipment and all its subsystems, software and other components necessary for the complete and proper use of the equipment for the stated purposes

- conditions of equipment operation and implementation training

- service and warranty conditions

- delivery date for individual devices

- prices of individual devices

- delivery and payment conditions

- information on equipment test options before placing purchase order.

Delivery place and deadline

The Vendor shall deliver the equipment to the Contracting Entity's registered office at the Vendor's cost.

The desirable deadline shall not exceed 15/05/2015.

The Contracting Entity reserves the right to withdraw from the contract should the Vendor fail to meet the deadline stated in the proposal.

Instruction manual:

The Contracting Entity requires that the equipment be delivered with technical documentation and detailed instruction manual in Polish (or in English).

Personnel training:

At its own cost the Vendor shall train two persons delegated by the Contracting Entity to fully operate and maintain the equipment.

Warranty terms and conditions:

- The warranty shall be valid for 24 months.

- In the case of each in-warranty repair the Vendor shall provide transportation of the equipment to and from the service place.

- The Vendor shall define the detailed mode and method of reporting defects.

Proposal shall be submitted by: February 10, 2015.

Address for submitting proposals:

Proposals shall be submitted in writing (by mail or e-mail).

Restauro Sp. z o.o.

ul. Małe Garbary 4-6

87-100 Toruń

tel./fax. 004856 621-12-40

e-mail: restauro@restauro.pl

Persons to contact:

In matters of substance - Jędrzej Musiela, phone: (48) 609222274; jedrzej.musiela@restauro.pl

The formal and organizational matters - Ewelina Klimek, phone: (48) 609020564; ewelina.klimek@restauro.pl

Toruń
Date: January 27, 2015