Request for proposals under a competitive bidding procedure

Contracting entity:

Restauro Sp. z o.o.

ul. Małe Garbary 4-6

87-100 Toruń

Poland, EU

www.restauro.pl

tel./fax. 0048 56 621-12-40

e-mail: restauro@restauro.pl

The company provides heritage conservation services. It can perform a complete range of building and conservation works, mainly specializing in conservation, repair, modernization, and conversion of historic buildings, including conservation of such interior decorations as joinery, wood carvings, gildings, stuccowork, plasterwork, and wall paintings.

After examining submitted proposals, the Contracting Entity shall invite selected vendors to further negotiations.

The procurement shall be financed with the Contracting Entity's own funds and funds granted by the EU.

Equipment requirements

A brand new the laser-cleaning station system for heritage conservation consisting of 2 devices

The following components/equipment are the minimum requirement for the laboratory laser-cleaning station:

Specification:

1. Wavelengths 1064 nm; desirable possibility of changeable wavelengths: 1064 and 532 nm; 1064 and 355 nm

2. Pulse length: 6–110 nm

3. Power > 15 Watt

4. Frequency > 10 Hz

5. Energy density > 1,5 J /1 cm2

6. Efficiency > 0,5m2 / 1h

7. Weight (has to allow work on scaffolding)

Delivery place and deadline

The Vendor shall deliver the equipment to the Contracting Entity's registered office at the Vendor's cost.

The desirable deadline shall not exceed 15/04/2015.

The Contracting Entity reserves the right to withdraw from the contract should the Vendor fail to meet the deadline stated in the proposal.

Instruction manual:

The Contracting Entity requires that the equipment be delivered with technical documentation and detailed instruction manual in Polish (or in English).

Personnel training:

At its own cost the Vendor shall train two persons delegated by the Contracting Entity to fully operate and maintain the equipment.

Warranty terms and conditions:

- The warranty shall be valid for 36 months.

- The Vendor shall deliver a replacement in case a repair is expected to take longer than 14 days.

- In the case of each in-warranty repair the Vendor shall provide transportation of the equipment to and from the service place.

- The Vendor shall define the detailed mode and method of reporting defects.

Proposal shall be submitted by: February 4, 2015.

Address for submitting proposals:

Proposals shall be submitted in writing (by mail or e-mail).

Restauro Sp. z o.o.

ul. Małe Garbary 4-6

87-100 Toruń

tel./fax. 004856 621-12-40

e-mail: restauro@restauro.pl

Persons to contact:

In matters of substance - Jędrzej Musiela, phone: (48) 609222274; jedrzej.musiela@restauro.pl

The formal and organizational matters - Ewelina Klimek, phone: (48) 609020564; ewelina.klimek@restauro.pl

Toruń
Date: January 27, 2015